BRAVO DRINKING WATER

| Lab Analysis - Water Quality Report Physical and Chemical Test #; Parameter; Limit; Result. 1; Appearance; Clear, free from foreign matter; Cleared. 2; Taste/Test; Smoot Un-objectionable; Normal. 3; Odour; Odourless; Odourless. 4; Colour; Colourless; Colourless. 5; Turbidity (NTU); 0.5 (max); BDL. 6; pH; 6.5 - 8.5; 6.9. 7; TDS (ppm); 500 (max); 160. 8; Total Hardness (ppm); 200; 100. 9; Calcium - Ca (ppm); 100; 30. 10; Magnesium - Mg (ppm); 50; 4. 11; Sodium - Na (ppm); 50; 16. 12; Potassium - K (ppm); 10; BDL. 13; Sulphate - SO4 (ppm); 250; 32. 14; Nitrite (ppm); 1; 0.2. 15; Chloride - Cl (ppm); 250; 56. 16; Chlorine (ppm); 0.1; NIL. Microbiology #; Microbial Analysis; Limit; Result. 1; Total Coliform; <1 CFU/250ml; NEGATIVE. 2; E.coli; <1 CFU/250ml; NEGATIVE. 3; Fecal Enterococci; ..CFU/ml; NEGATIVE. 4; Pseudomonas aeruginosa; <1 CFU/ml; NEGATIVE. Comments: WATER IS FIT FOR DRINKING Lab Chemist: Muhammad Bilal Signature: _________________ | 25 Oct 2026 Pure Hydration, Delivered. SCAN TO VISIT BRAVO DRINKING WATER bravowater.ajmalfarooqc.workers.dev Pure Water • Trusted Quality • Fast Delivery |
| --- | --- |